REQUEST FOR PROPOSALS

For

HVAC Chiller Replacement

# Addendum No. 1

Published May 14, 2026

Date RFP Published: May 12, 2026

Deadline to Submit Proposals: May 21, 2026

To All Applicants:

This addendum is being issued to clarify, add, delete, correct and/or change the RFP for HVAC Chiller Replacement to the extent indicated herein and is hereby made a part of the RFP documents on which the contract will be based. Any modifications/changes made by this addendum affect only the portions or paragraphs specifically identified herein; all remaining portions of the RFPs, including those addressed through previously-issued addenda, are to remain in force. It is the responsibility of the applicant to conform to this addendum.

1. Section III, “Scope of Services”, Subsection C “Specifications” Part 2 (page 12) is hereby revised and shall now read as follows:

PART 2 -	PRODUCTS

  - ACCEPTABLE MANUFACTURERS

    - Trane model RTAF, or any other comparable manufacturer or model. The model must include a warranty.  Additionally, the installer must be available and perform any work under the warranty.